Dear Secretary
Please find Iran comments on CL 2012/33-MAS " Draft Principles for the Use of Sampling and Testing in International Food Trade" as follow details:
Section 3- Definition 
Testing: 
It is suggested to add a phrase such as the following to complete the definition: 
Process to examine the specified characteristics of a sample in order to meet the defined specifications.  
Testing procedure: 
It is proposed a statement to be added to the definition which shows that for preparation of samples and analysis the standard methods should be used or the methods should be validated. 
Sampling procedure: 
It is better to state In the definition that a valid sampling plan which its measurement uncertainty has been determined be used. 
  
Section 5- references: 
It is suggested that the following guidelines from which the definitions have been taken out to be added to the references: 
  
CAC/GL 50, 
CAC/GL 72, 
CAC/GL 54. 
Some useful standards have been also published by ISO and other relevant organizations, which can be added to section 5 or be referred to them. The followings are examples of ISO standards: 
- ISO 707:2008 (IDF 50: 2008) , Milk and milk products -- Guidance on sampling 
- ISO 664:2008 , Oilseeds -- Reduction of laboratory sample to test sample 
- ISO 874:1980 , Fresh fruits and vegetables – Sampling 
- ISO 948:1980 , Spices and condiments – Sampling

Best regards.

Secretary,N.C.C. of  Iran